## Slide 1: Genome Sequencing and Annotation
Michael R. McKain
Donald Danforth Plant Science Center
September 27, 2016

## Slide 2: Overview
Types of Genomes
Modern Sequencing Platforms
  Illumina
    Types of Libraries
  PacBio
  Nanopore
Assembly Workflow
  Fast-Plast: Assembling a chloroplast genome
Annotation
  Verdant: Annotating a chloroplast genome

## Slide 3: Organisms have multiple genomes
Nuclear/Nucleoid
  Everything?
Mitochondrial
  Eukaryotes, except Monocercomonoides
Chloroplast
  Green things, red things, diatoms, and more?
Apicoplast
  Vestigial red algae-derived chloroplast in apicoplexans (Plasmodium)
Metagenome

## Slide 4
Zigadenus glaberrimus
Zomlefer et al. 2014.
Yucca filamentosa
McKain et al., unpub.
Huperzia squarrosa
Liu et al. 2012

## Slide 5: Modern Sequencing Platforms
Illumina
HiSeq2000/2500/4000
NextSeq500
MiniSeq/MiSeq
PacBio
RSII
Sequel*
Nanopore
MinION
PromethION

## Slide 6
Illumina VS PacBio VS Nanopore
Check Out: http://www.molecularecologist.com/2016/03/2016-ngs-field-guide-preview/
 | Illumina | PacBio | Nanopore
Read Length | 1x50 -- 2x300 | Average > 10,000 | > 10,000
Longest Read | 300 | >60,000 | >200,000
Number of Reads | 25M -- 5B | 55,000 per SMRT cell | 4.4 - 1250M
Error Rate | 0.10% | 8-12%*; 0.05% corrected | 1% or more

## Slide 7: Illumina workflow
Harkess

## Slide 8: Anatomy of the Illumina flow cell
clusters
Flow cell “lane”
Each cluster generates one or two sequence reads
Miseq = 25 million clusters
NextSeq500 = 400 million clusters
HiSeq2500 = 2 billion clusters
HiSeq4000 = 5 billion clusters
Harkess

## Slide 9: Flavors of Illumina sequencing
Single end
Paired end
read 1
read 1
read 2
200nt – 2000nt long molecules
Genomic DNA extraction
Randomly shear DNA to a short average size (ex: ~600 nt)
Prepare sequencing library
Harkess

## Slide 10
Mate Pair Long Insert
5 – 40kb long fragments
Circularize the molecules
Sequence paired end
Fragment and enrich
for biotin
Sequence read pairs that span a long distance
biotin
biotin
5 – 40kb long fragments
Now have read pairs that
are actually 5-40kb apart
junction
Harkess

## Slide 11: Other Types of Libraries
Hi-C
  Uses 3D structure of chromatin naturally occurring in genome
Chicago Method
  Dovetail
  Hi-C but the DNA is stripped and then “chromatinized”
10X Genomics
  Microfluidics that get a single DNA molecule on bead
  Molecules have unique barcodes and are sequenced

## Slide 12
Dovetail Method
Dovetail White Paper
HMW DNA stripped of proteins
In vitro chromatin assembly
Crosslinking of histones
Restriction endonuclease digestion of DNA
Blunt the sticky ends with biotinylated nucleotides
Ligation of fragments
Chromatin and biotin not internal to fragments removed

## Slide 13: Pacific Biosciences
Real Time, Single Molecule Sequencing
Metzker, 2010

## Slide 14: Oxford Nanopore
Single Molecule Sequencing
Detect modifications to DNA
Extremely long reads, possible
Data in a little as 2 minutes
  Real time sequencing
http://www2.technologyreview.com/news/427677/nanopore-sequencing/

## Slide 15: More to See
http://www.slideshare.net/suryasaha/sequencing-2016
http://core-genomics.blogspot.com/
https://www.reddit.com/r/bioinformatics/
Lot of other resources

## Slide 16: Thinks to think
What platform is best for my project?
  Coverage vs. Read Length
  Sample number
  Cost
What is THE QUESTION?
  Sequencing works for you, don’t work for your sequencing
Think Tank, July 2013 Image Comics

## Slide 17: Basic Steps to Any–ome Assembly
Clean your data
Reduce your data
Assemble
QC Assembly
Validate Assembly
Repeat Steps 3-5.

## Slide 18: Fast-Plast: Clean the Data
Use Trimmomatic to remove adapter sequences and low quality bases
Other options: FastX, Cutadapt
DNA insert
Adapter
If a read is longer than the DNA insert, it will sequence into the adapter.
Available at: https://github.com/mrmckain/Fast-Plast

## Slide 19: Poor Quality?
Reads usually come in FASTQ format
@D00653:206:C9C6VANXX:1:1102:19019:2314 1:N:0:CGCTCATT+TAATCTTA
GTAACCTAATAAAATAAAAACCAAGCAAATGCTCTTTTTCCTAAATTAAAATATGGGATCCTTTTTATTTAAGATCCTCTTTTCTCCATCTCATTTCTACTTCTACTGCTTATTGGGATGTCTATGTGACCCATAGAAAGTTGGTCATATAATACATACA
+
B<BBBBFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFBFFFFFFFFFFFFFFFFFFFFFFFFFFFFFBFFBFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFFF<BFFBF/FFFFFFFFBB<FFFFFFFFFFFFFFFFBBFFFFF
ID
Sequence
The + Line
Quality
Quality score line is converted from ASCII characters to a number
Currently: Phred 33 is used
Scoring starts at the 33rd ASCII character (!) and ends at the 41st (I == capital i).

## Slide 20: Phred Scoring Systems
Wikipedia

## Slide 21: What does it mean?
Wikipedia
Programs for read cleaning allow you to choose the threshold for Phred scores

## Slide 22: Fast-Plast: Clean the Data
Trimmomatic Settings: --phred33
--ILLUMINACLIP:NEB-PE.fa:1:30:10
adapters:seedMismatch:palindromeClip:simpleClip
--SLIDINGWINDOW:10:20
windowLength:phredThreshold
--MINLEN:40
Trimmomatic Available: http://www.usadellab.org/cms/?page=trimmomatic
ORDER MATTERS!

## Slide 23: Fast-Plast: Reduce the Data
Many of our data sets are low coverage whole DNA sequencing
  AKA shotgun, GSS, some others
Chloroplast genomes constitute ~1-5% of total DNA in photosynthesizing angiosperms
Computation is costly
Storage is costly
Check out: Muir et al. 2016
Chart: 
 | 1 | 99
Nuclear, mitochondrial, and other
Chloroplast

## Slide 24: Fast-Plast: Reduce the Data
Map reads using Bowtie2
  Fast-Plast has a bowtie2 index for 300+ angiosperm chloroplast genomes
  Trimmed reads are aligned to these plastomes to find “chloroplast-like” reads
  Reduces the dataset from millions to thousands of reads
Bowtie2 Available: http://bowtie-bio.sourceforge.net/bowtie2/index.shtml

## Slide 25: Fast-Plast: Reduce the Data
The Hyb-Seq Issue
  Sequence capture data has highly variable coverage
  Problem for most assembly programs
Check out: http://ivory.idyll.org/blog/trinity-in-silico-normalize.html
Solution:
Read normalization
Brown et al. 2012

## Slide 26: Fast-Plast: Assemble
There are a lot of assemblers out there
  Assemblers all have quirks
  Try multiple assemblers (this is really step 7)
  Use the biology to pick the assembler that best works for your system

## Slide 27: Fast-Plast: Assemble
Initial assembly in SPAdes
SPAdes Avaliable: http://bioinf.spbau.ru/spades
Martin and Wang, 2011
Uses de Brujin Graphs